APPLICATION FOR OCCUPANCY

ON

THE RIGHT OF WAY OF COUNTY HIGHWAYS

# To:	Perkins County Highway Department

# _________________ County

# _________________ South Dakota

# Application is made by _______________________________ for a water line

# occupancy of Highway Number _______, in Section _______, Township _____

# Range_______, Perkins County, South Dakota.

# A sketch showing the location must be attached.

The following information is pertinent to the proposed installation:

- Intended usage__________________________________________________

- Outside Pipe Diameter____________________________________________

- Method of Installation_____________________________________________

## INSTALLATION AND MAINTENANCE: Installation and maintenance of said

facilities on county road right-of-way shall conform to the following provisions:

- Upon construction, maintenance, relocation or removal of said facilities all disturbed areas shall be restored to original condition.  Trench dug within county right –of-way will be backfilled and compacted to a density equal to that of the adjacent undisturbed soil.

- Trenches dug within County right-of-way will adhere to a minimum depth of 6’ under bituminous roads and a minimum depth of 48” elsewhere.  Whereas the minimum depth cannot be adhered to, due to ground density or obstacles, the contractor or landowner is to notify the County Highway Superintendent for approval prior to digging.

Perkins County signposts are placed 36” deep.  Landowner shall be

responsible for lines less than 36” deep.

- _______________ County shall not be liable for damage to said facilities resulting from reconstruction or maintenance of the highway and /or county roadway.  Applicant/Land Owner shall hold the County harmless for injury to persons or damage to property resulting from the location of said facilities on county road right-of-way.

- Applicant/Land Owner shall maintain a five (5) foot minimum lateral distance from any and all cement/concrete and /or steel county road structures and appurtenances such as: culverts, bridges, box culverts, etc.

- Applicant/Land Owner shall repair or replace highway structures and appurtenances, and any existing facilities located on, over or under county road right-of-way, which may be damaged as a result of the installation and maintenance of said facilities on county road right-of-way.

- Land Owner shall promptly remove said facilities from county right-of-way, or shall relocate or adjust facilities, at their sole cost and expense when requested to do so by the County.

WHEREAS, the terms provided that the Perkins County Highway Dept. may grant such a permit, and is approved by the Perkins County Highway Dept. this ________ day of _________, 20___ at ______________, South Dakota.

Submitted:__________________________

Land Owner:________________________

Approval:

By:___________________________

County Highway Superintendent